## Info
v0.2.0 Open Building Data Format (openBDF)
Publication Date: 17th of February, 2025
Authors: Christian Kongsgaard - Christian Kongsgaard ApS Martin Röck - RISE Labs
Description: To advance global whole life carbon data reporting we here present the open building data format (openBDF). The openBDF aligns with and incorporates best practice from leading initiatives such as ECHO, and utilizes the LCAx data structure.
JSON Schema: The schema presented here is a table representation of the real schema, which can be found here https://openbdf.gbdi.io in JSON Schema format. We present here the table format as it is easier for the non-technical reader to comprehend the available fields.
Data Structure: openBDF adopts LCAx's nested data structure, which can be visualized in the diagram below. The data structure consists of 4 levels: Project, Assembly, Product and Impact Data. All 4 levels are represented in this document. The Project level has its own tab called "Project", whereas the Assembly Product and Impact Data level can be found in the "Assemblies" tab.

## Project
Information | openBDF | ECHO Reference (pre-version) | ECHO release (v1) | CarbEnMats (v0.2.0-CORE) | GLOBE data protocol draft (Aug'24) | SE2050/ARUP | Data Type | Required | Options | Notes | Value | Conceptually, multiple items can be reported in one table, each item in a new row/column
name | name | project_name | project_name |  |  | Project Name | string | required |  |  | B01 | B02 | B03 | ...
description | description | project_description | project_description |  |  |  | string | optional
comment | comment | qa_user_notes | qa_user_notes |  |  |  | string | optional
classification system | classification_system | [5 empty] | string | required |  | Default: NRM3 level 3 (https://www.rics.org/profession-standards/rics-standards-and-guidance/sector-standards/construction-standards/nrm)
product classification system | meta_data.product_classification_system | [5 empty] | string | optional |  | Recormended: UniClass Materials (https://uniclass.thenbs.com/taxon/ma)
project phase | project_phase | project_status | project_status | bldg_QTO_type |  |  | option | required | strategic design, concept design, technical design, construction, post-completion, in-use, other
image | meta_data.image | project_image | project_image |  |  |  | string | optional |  | base64 encoded
source | meta_data.source.name | [5 empty] | string | optional
Location
address | location.address | project_address | project_address |  |  | Address | string | optional
city | location.city | project_location_city | project_location_city | site_region_local |  | City | string | recommended
country | location.country | project_country | project_country | site_country |  | Country | option | required | ISO3166-Alpha3
climate zone | meta_data.climate_zone | project_climate_zone | project_climate_zone | site_climate_zone |  |  | string | derived
latitude | location.latitude |  | lat |  |  |  | number | derived
longitude | location.longitude |  | lng |  |  |  | number | derived
Owner
owner | owner | owner_organization | owner_organization |  |  |  | string | optional
contact | meta_data.owner.contact | project_owner_contact | project_owner_contact_first_name +project_owner_contact_last_name |  |  |  | string | optional
web domain | meta_data.owner.web | owner_web_domain | owner_web_domain |  |  |  | string | optional
country | meta_data.owner.country | owner_country | owner_country |  |  |  | string | optional
email | meta_data.owner.email | owner_email | owner_email |  |  |  | string | optional
type | meta_data.owner.type | owner_type | owner_type |  |  |  | string | optional
representative | meta_data.owner.representative | owners_representative | owners_representative |  |  |  | string | optional
LCA Information
life cycle stages | life_cycle_stages | assessment_stages | assessment_life_cycle_stages | scope_LCS_A123 scope_LCS_A4 scope_LCS_A5 scope_LCS_B1 scope_LCS_B2 scope_LCS_B3 scope_LCS_B4 scope_LCS_B5 scope_LCS_B6 scope_LCS_B7 scope_LCS_C1 scope_LCS_C2 scope_LCS_C3 scope_LCS_C4 scope_LCS_D scope_handling_D |  | LCA Stages included | list of option | required | a0, a1a3, a4, a5, b1, b2, b3, b4, b5, b6, b7, b8, c1, c2, c3, c4, d, none
reference study period | reference_study_period | assessment_reference_service_life | reference_study_period | lca_RSP |  |  | integer | recommended
lcia method | lcia_method |  | lcia_method | lca_lcia_method |  |  | string | recommended
Assessment Methodology description | meta_data.assessment.assessment_methodology_description |  | assessment_methodology_description |  |  |  | string | optional
Assessment uncertainty | meta_data.assessment.uncertainty |  | assessment_uncertainty |  |  |  | string | optional
Assessment cutoff method | meta_data.assessment.cutoff_method |  | assessment_cutoff_method |  |  |  | string | optional
Name of assessor | meta_data.assessment.assessor.name | assessment_assessor name | assessor_name |  |  |  | string | optional
Email of assessor | meta_data.assessment.assessor.email | assessment_assessor email | assessor_email |  |  |  | string | optional
Assessor company or organization | meta_data.assessment.assessor.organization | assessment_assessor organization | assessor_organization |  |  |  | string | optional
Year when data reported | meta_data.assessment.year | assessment_year | assessment_year |  |  | Year LCA was performed | integer | recommended
Date of assessment | meta_data.assessment.date | assessment_date | assessment_date |  |  |  | string | recommended
Material Quantity Source | meta_data.assessment.quantity_source | assessment_quantity source | material_quantity_source |  |  |  | option |  | Extrapolation from Construction Type Land Use Area, Manual Approximation, BIM Model, Design Estimates/ Manual Takeoff from Design Documentation, Construction Estimate/Contractors Bill of Materials, As-Built, Other Data Source
Material Quantity Source detail | meta_data.assessment.quantity_source_detail |  | material_quantity_source_detail |  |  |  | string
enter the purpose of assessment | meta_data.assessment.purpose | purpose_of_assessment | assessment_purpose |  |  |  | string | recommended
Is assessment compliant with ISO21931 | meta_data.assessment.iso21931_compliance | assessment_21931_compliance | iso21931_compliance |  |  |  | boolean | optional
Is assessment compliant with EN 15978 | meta_data.assessment.en15978_compliance | assessment_15978 compliance | en15978 compliance |  |  |  | boolean | optional
Is assessment is compliant with RICS Whole Life Carbon PS, 2017 version | meta_data.assessment.rics_2017_compliance | assessment_RICS_2017_compliance | rics_2017_compliance |  |  |  | boolean | optional
Is assessment compliant with RICS Whole Life Carbon PS, 2023 version | meta_data.assessment.rics_2023_compliance | assessment_RICS_2023_compliance | rics_2023_compliance |  |  |  | boolean | optional
Is assessment compliant with ASHRAE 240P | meta_data.assessment.ashrae_240p_compliance | assessment_ASHRAE_240P_compliance | ashraeicc_240p_compliance |  |  |  | boolean | optional
Is assessment compliant with SEI Prestandard | meta_data.assessment.sei_prestandard_compliance |  | sei_prestandard_compliance |  |  |  | boolean | optional
Has assessment been third-party verified | meta_data.assessment.verified | assessment_verified | assessment_verified |  |  |  | boolean | optional
Information of third-party verifier | meta_data.assessment.verified_info | assessment_verified info | assessment_verifier |  |  |  | string | optional
Period for which assessment is valid (in years) | meta_data.assessment.validity_period | assessment_validity_period | assessment_validity_period |  |  |  | integer | recommended
Description of validation | meta_data.assessment.results_validation_description |  | results_validation_description |  |  |  | string | optional
Tool report upload | meta_data.assessment.tool_report_upload |  | tool_report_upload |  |  |  | string | optional
Report name | meta_data.assessment.report_name |  | report_name |  |  |  | string | optional
additional lca report name | meta_data.assessment.additional_lca_report_name |  | additional_lca_report_name |  |  |  | string | optional
Project phase at reporting | meta_data.assessment.project_phase_at_reporting |  | project_phase_at_reporting |  |  |  | string | optional
Project phase at time of assessment | meta_data.assessment.project_phase_at_time_of_assessment |  | project_phase_at_time_of_assessment |  |  | Project Phase at LCA | string | optional
operational energy included | meta_data.assessment.operational_energy_included |  | operational_energy_included |  |  |  | string | optional
biogenic carbon included | meta_data.assessment.biogenic_carbon_included |  | biogenic_carbon_included |  |  |  | string | optional
biogenic carbon accounting method | meta_data.assessment.biogenic_carbon_accounting_method |  | biogenic_carbon_accounting_method |  |  |  | string | optional
bio sustainability certification | meta_data.assessment.bio_sustainability_certification |  | bio_sustainability_certification |  |  |  | string | optional
biogenic carbon description | meta_data.assessment.biogenic_carbon_description |  | biogenic_carbon_description |  |  |  | string | optional
project refrigerants | meta_data.assessment.project_refrigerants |  | project_refrigerants |  |  |  | string | optional
refrigerant type included | meta_data.assessment.refrigerant_type_included |  | refrigerant_type_included |  |  |  | string | optional
substructure scope | meta_data.assessment.substructure_scope |  | substructure_scope |  |  |  | string | optional
shell superstructure scope | meta_data.assessment.shell_superstructure_scope |  | shell_superstructure_scope |  |  |  | string | optional
shell exterior enclosure scope | meta_data.assessment.shell_exterior_enclosure_scope |  | shell_exterior_enclosure_scope |  |  |  | string | optional
interior construction scope | meta_data.assessment.interior_construction_scope |  | interior_construction_scope |  |  |  | string | optional
interior finishes scope | meta_data.assessment.interior_finishes_scope |  | interior_finishes_scope |  |  |  | string | optional
services mechanical scope | meta_data.assessment.services_mechanical_scope |  | services_mechanical_scope |  |  |  | string | optional
services electrical scope | meta_data.assessment.services_electrical_scope |  | services_electrical_scope |  |  |  | string | optional
services plumbing scope | meta_data.assessment.services_plumbing_scope |  | services_plumbing_scope |  |  |  | string | optional
sitework scope | meta_data.assessment.sitework_scope |  | sitework_scope |  |  |  | string | optional
equipment scope | meta_data.assessment.equipment_scope |  | equipment_scope |  |  |  | string | optional
furnishings scope | meta_data.assessment.furnishings_scope |  | furnishings_scope |  |  |  | string | optional
LCA requirements | meta_data.assessment.lca_requirements |  | lca_requirements |  |  |  | string | optional
Software
Calculation Type | calculation_type | [5 empty] | string | optional
LCA Software | lca_software | assessment_tool | tool_lca | lca_software |  | LCA Tool | option | optional | Athena IE, Beacon, BEAM, Build Carbon Neutral, CARE Tool, Carbon Conscience, cove.tool, EC3, EPIC, Embodied Carbon Order of Magnitude (ECOM), eTOOL, OneClick LCA, Pathfinder, Simapro, Tangible, tallyLCA, Other
LCA Software Version | meta_data.lca_software_version | assessment_tool version | lca_tool_version_type |  |  |  | string | optional
LCA Database | meta_data.lca_database |  |  | lca_database |  |  | string | optional
LCA Database Version | meta_data.lca_database_version |  |  | lca_database_version |  |  | string | optional
LCA Database Other | meta_data.lca_database_other |  |  | lca_database_other |  |  | string | optional
LCa Model Type | meta_data.lca_model_type |  |  | lca_model_type |  |  | string | optional
Project Information
building footprint | project_info.building_info.building_footprint.value | building_footprint_area_m2 | building_footprint_area | bldg_footprint |  |  | number | required
building footprint unit | project_info.building_info.building_footprint.unit | [5 empty] | option | required | m2
building height | project_info.building_info.building_height.value | building_height | building_height | bldg_height |  | Mean Roof Height | number | recommended
building height unit | project_info.building_info.building_height.unit | [5 empty] | option | recommended | m, m2, m3, kg, tones, pcs, kwh, l, m2r1, km, tones_km, unknown
building mass | project_info.building_info.building_mass.value |  |  | inv_mat_mass_total |  |  | number | recommended
building mass unit | project_info.building_info.building_mass.unit | [5 empty] | option | recommended | kg, tones
building model scope | project_info.building_info.building_model_scope | substructure_included shell_superstructure_included shell_exterior_enclosure_included interior_construction_included interiors_finishes_included services_mep_included sitework_included equipment_&_furnishings_included | project_refrigerants fossil_gas_leakage substructure_included shell_superstructure_included shell_exterior_enclosure_included interior_construction_included interiors_finishes_included services_mep_included sitework_included equipment_included furnishings_included infrastructure_components_included | scope_parts_1_ground scope_parts_2_structure scope_parts_3_secondary scope_parts_4_finishes scope_parts_5_mechanical scope_parts_6_electrical scope_parts_6+_renewables scope_parts_7_facilities scope_parts_8_fittings |  | Building Substructure Components Building Superstructure Components | list of option | required | building_services, external_works, facilitating_works, ff_e, finishes, substructures, superstructure_envelope, superstructure_frame, superstructure_internal_elements
project type | project_info.building_info.building_type | building_project_construction_type | building_construction_type | bldg_project_type |  | Construction Type | option | required | new construction works, demolition, deconstruction and new construction works, retrofit works, extension works, retrofit and extension works, fit-out works, operations
building typology | project_info.building_info.building_typology | project_type | asset_type | bldg_use_subtype |  | Primary Building Use Type | list of option | required | office, residential, public, commercial, industrial, infrastructure, agricultural, other
number of building users | project_info.building_info.building_users | project_avg occupants |  | bldg_users_total |  |  | integer | recommended
certifications | project_info.building_info.certifications | project_certifications | project_certifications_commitments |  |  |  | string | optional
floors above ground | project_info.building_info.floors_above_ground | project_stories_above_grade | stories_above_grade | bldg_floors_ag |  | Number of Stories, Above Grade | integer | required
floors below ground | project_info.building_info.floors_below_ground | project_stories_below_grade | stories_below_grade | bldg_floors_bg |  | Number of Stories, Below Grade | integer | recommended
interstitial floors | meta_data.interstitial_floors |  | interstitial_floors |  |  |  | integer
frame type | project_info.building_info.frame_type | [5 empty] | string | recommended
total gross floor area | project_info.building_info.gross_floor_area.value | gross_floor_area | gross_floor_area | bldg_area_gfa |  | Gross Square Footage | number | required
total gross floor area unit | project_info.building_info.gross_floor_area.unit | [5 empty] | option | required | m2
total gross floor area definition | project_info.building_info.gross_floor_area.definition | gross_floor_area_measurement_method | gfa_measurement_method | bldg_area_definition |  |  | string | recommended
newly built area | meta_data.newly_built_area.value | [5 empty] | string | optional
retrofitted area | meta_data.retrofitted_area.value | [5 empty] | string | optional
demolished area | meta_data.demolished_area.value | [5 empty] | string | optional
existing area | meta_data.existing_area.value | [5 empty] | string | optional
heated floor area | project_info.building_info.heated_floor_area | [5 empty] | number | required
built floor area | meta_data.built_floor_area.value |  | build_floor_area |  |  |  | string | optional
built floor area unit | meta_data.built_floor_area.unit | [5 empty] | string | optional
roof type | project_info.building_info.roof_type |  |  | bldg_roof_type |  |  | option | required | flat, pitched, saddle, pyramid, other
detailed construction type | meta_data.building_project_construction_type_2 | building_project_construction_type_2 |  |  |  |  | string | recommended
infrastructure construction type | meta_data.infrastructure_project_construction_type | infrastructure_project_construction_type | infrastructure_construction_type |  |  |  | string | optional
infrastructure sector type | meta_data.infrastructure_sector_type | infrastructure_sector_type | infrastructure_sector_type |  |  |  | string | optional
building use type | meta_data.building_use_type | building_use_type | building_use_type |  |  |  | string | recommended
infrastructure use type | meta_data.infrastructure_use_type | infrastructure_use_type | infrastructure_use_type |  |  |  | string | optional
project work area | meta_data.project_work_area.value | project_work_area_m2 | project_work_area |  |  |  | number | optional
project work area unit | meta_data.project_work_area.unit | [5 empty] | string | optional
project site area | meta_data.project_site_area.value | project_site_area_m2 | project_site_area |  |  |  | number | optional
project site area unit | meta_data.project_site_area.unit | [5 empty] | string | optional
conditioned floor area | meta_data.conditioned_floor_area.value | conditioned_floor_area_m2 | conditioned_floor_area |  |  |  | number | optional
conditioned floor area unit | meta_data.conditioned_floor_area.unit | [5 empty] | string | optional
unconditioned floor area | meta_data.unconditioned_floor_area.value | unconditioned_floor_area_m2 | unconditioned_floor_area |  |  |  | number | optional
unconditioned floor area unit | meta_data.unconditioned_floor_area.unit | [5 empty] | string | optional
enclosed parking area | meta_data.enclosed_parking_area.value | enclosed_parking_area_m2 | enclosed_parking_area |  |  |  | number | optional
enclosed parking area unit | meta_data.enclosed_parking_area.unit | [5 empty] | string | optional
detached parking area | meta_data.detached_parking_area.value | detached_parking_area_m2 | detached_parking_area |  |  |  | number | optional
detached parking area unit | meta_data.detached_parking_area.unit | [5 empty] | string | optional
surface parking area | meta_data.surface_parking_area.value |  | surface_parking_area |  |  |  | string | optional
surface parking area unit | meta_data.surface_parking_area.unit | [5 empty] | string | optional
detached parking structure area | meta_data.detached_parking_structure_area.value |  | detached_parking_structure_area |  |  |  | string | optional
detached parking structure area unit | meta_data.detached_parking_structure_area.unit | [5 empty] | string | optional
IBC Construction Type | meta_data.ibc_construction_type | IBC_Construction_Type | IBC_Construction_Type |  |  |  | string | optional
project surroundings | meta_data.project_surroundings | project_surroundings | project_surroundings |  |  |  | string | optional
project historic | meta_data.project_historic | project_historic | project_historic |  |  |  | string | optional
full time equivalent | meta_data.full_time_equivalent |  | full_time_equivalent |  |  |  | string | optional
occupant load | meta_data.occupant_load | occupant_load | occupant_load |  |  |  | integer | recommended
mean roof height | meta_data.mean_roof_height | mean_roof_height | mean_roof_height |  |  |  | number | optional
window wall ratio | meta_data.window_wall_ratio | window_wall_ratio | window_wall_ratio |  |  |  | number | optional
thermal envelope area | meta_data.thermal_envelope_area.value | thermal_envelope_area | thermal_envelope_area |  |  |  | number | optional
thermal envelope area unit | meta_data.thermal_envelope_area.unit | [5 empty] | string | optional
residential units | meta_data.residential_units | residential_units | residential_units |  |  |  | string | optional
bedroom count | meta_data.bedroom_count |  | bedroom_count |  |  |  | string | optional
Project expected building life in years | meta_data.project_expected_life | project_expected_life |  |  |  | Expected Building Life | integer | recommended
Results validated as-built | meta_data.results_validated_as_built | results_validated_as-built |  |  |  |  | boolean | recommended
Results validated as-built description | meta_data.results_validated_as_built_description | results_validated_as-built_description |  |  |  |  | string | optional
The method of calculating assessment cutoff. | meta_data.assessment_cutoff_type | assessment_cutoff_type |  |  |  |  | string | optional
The approximate percentage of materials included in the assessment by mass | meta_data.assessment_cutoff | assessment_cutoff |  |  |  |  | number | optional
Are 95% of materials by cost included in the assessment? | meta_data.assessment_cost_cutoff | assessment_cost_cutoff |  |  |  |  | boolean | optional
Does the building have heritage status | meta_data.heritage_status | [5 empty] | boolean | optional
omniclass table 11 construction entity | meta_data.omniclass_construction_entity |  | omniclass_table_11_construction_entity |  |  |  | string | optional
Energy Information
energy demand electricity | building_info.energy_demand_electricity | [5 empty] | number | recommended
energy demand heating | building_info.energy_demand_heating | [5 empty] | number | recommended
energy supply electricity | building_info.energy_supply_electricity | [5 empty] | number | recommended
energy supply heating | building_info.energy_supply_heating | [5 empty] | number | recommended
exported electricity | building_info.exported_electricity | [5 empty] | number | recommended
general energy class | building_info.general_energy_class |  |  | bldg_energy_class_general |  |  | option | required | existing, standard, advanced, unknown
local energy class | building_info.local_energy_class | project_energy code | energy_code | bldg_energy_class_country |  |  | string | optional
energy modeling tool | meta_data.energy.tool_energy_modeling | project_tool_energy modeling | tool_energy_model |  |  |  | option | optional | 30 AEDG AEDG, 50 AERG AEDG, Autodesk Insight, BE Opt, CBECC (Title 24 Compliance Tool), CBECC-Res (Title 24 Compliance Tool), Energos (Vectorworks Plug-In), EPIC Tool, ClimateStudio, Cove.tool, DOE - 2.1E Energy Pro, DOE - 2.1E VisualDOE, EnergyGauge Summit - DOE -2.1E, DOE- 2.2, DOE -2.2 eQuest, DOE - 2.2 GreenBuildingStudio, DOE - 2.2 Other, Energy Gauge Summit, DOE 2.2E, EnergyPlus AECOSim, EnergyPlus DesignBuilder, EnergyPlus Ladybug Tools, EnergyPlus OpenStudio, EnergyPlus Simergy, EnergyPlus Other, HAP, HEED, HOT2000, Home Energy Saver, IES - Virtual Environment, Modelica, NEO Net Energy Optimizer, Passive House Planning Package (PHPP), PlanITImpact, REM Rate, Sefaira, SPEED, TRACE 3D+, TRACE 700, TRNSYS, URBANopt, WUFI Passive, Other, Other International
energy modeling tool version | meta_data.energy.tool_energy_modeling_version |  | energy_model_tool_version |  |  |  | string | optional
energy model methodlogoy reference | meta_data.energy.energy_model_methodology_reference |  | energy_model_methodology_reference |  |  |  | string | optional
GWP energy sources period | meta_data.energy.gwp_energy_sources_year |  | gwp_energy_sources_year |  |  |  | string | optional
Site location weather data | meta_data.energy.site_location_weather_data |  | site_location_weather_data |  |  |  | string | optional
Electricity provider | meta_data.energy.electricity_provider |  | electricity_provider |  |  |  | string | optional
Electricity source | meta_data.energy.electricity_source |  | electricity_source |  |  |  | string | optional
Electricity carbon factor | meta_data.energy.electricity_carbon_factor |  | electricity_carbon_factor |  |  |  | string | optional
Electrivity carbon factor source | meta_data.energy.electricity_carbon_factor_source |  | electricity_carbon_factor_source |  |  |  | string | optional
Project Team
Architect of Record (AOR) | meta_data.architect_of_record | architect_of_record | architect_of_record |  |  |  | string | optional
Studio or office of User, within firm | meta_data.project_user_studio | project_user_studio | org_office |  |  |  | string | optional
General Contractor (GC) | meta_data.general_contractor | general_contractor | general_contractor |  |  |  | string | optional
MEP Engineer of Record | meta_data.mep_engineer | mep_engineer | mep_engineer |  |  |  | string | optional
Green Building Consultant | meta_data.sustainability_consultant | sustainability_consultant | sustainability_consultant |  |  |  | string | optional
Structural Engineer | meta_data.structural_engineer | structural_engineer | structural_engineer |  |  |  | string | optional
Civil Engineer | meta_data.civil_engineer | civil_engineer | civil_engineer |  |  |  | string | optional
Landscape Consultant | meta_data.landscape_consultant | landscape_consultant | landscape_consultant |  |  |  | string | optional
Interior Designer | meta_data.interior_designer | interior_designer | interior_designer |  |  |  | string | optional
Other Project Team Member | meta_data.other_project_team | other_project_team | other_project_team |  |  |  | list of string | optional
Project Schedule
original construction completion year | project_info.building_info.building_completion_year | project_construction_completion_date | project_construction_date_completion | bldg_year_complete |  | Construction Year Completed | integer | recommended
works completion date | meta_data.work_completion_year | [5 empty] | date | optional
building permit year | building_permit_year | [5 empty] | integer | recommended
Anticipated development start date | meta_data.construction_start | project_construction_start_date | project_construction_date_start |  |  |  | string | optional
Construction year of original asset (for existing buildings) | meta_data.construction_year_existing_building | project_original_date_existing_building | project_construction_date_existing_building |  |  |  | integer | optional
Anticipated Start of Occupancy | meta_data.building_occupancy_start | anticipated_start_building_occupancy | anticipated_start_building_occupancy |  |  |  | string | optional
Project Cost
Project Cost Currency | meta_data.cost.currency | project_total_cost_currency | currency_code |  |  |  | string | optional
Total Project Cost | meta_data.cost.total_cost | project_total_cost | total_cost |  |  |  | number | optional
hard costs (building materials, total construction cost) | meta_data.cost.hard_cost | project_hard_cost | hard_cost |  |  |  | number | optional
design/consultant fees, overhead, project admin | meta_data.cost.soft_cost | project_soft_cost | soft_cost |  |  |  | number | optional
Project estimated siteworks cost | meta_data.cost.siteworks_cost | project_siteworks_cost | siteworks_cost |  |  |  | number | optional
Whether or not cost is estimated or actual | meta_data.cost.cost_source | project_cost_source | cost_source |  |  |  | string | optional
Cost notes | meta_data.cost.notes |  | cost_notes |  |  |  | string | optional
Structural System
Typical column grid spacing in the long direction | meta_data.structural.column_grid_long.value | system_column_grid_long | system_column_grid_long |  |  | Typical Column Grid, Long Direction | string | recommended
Typical column grid spacing in the long direction unit | meta_data.structural.column_grid_long.unit | [5 empty] | string | recommended
Project Risk Category based on IBC definition | meta_data.structural.risk_category | system_risk_category | system_risk_category |  |  | Risk Category | string | optional
Typical floor live load | meta_data.structural.live_load.value | system_live_load | system_live_load |  |  | Typical Floor Live Load (psf) | number | optional
Typical floor live load unit | meta_data.structural.live_load.unit | [5 empty] | string | optional
Code-determined ground snow load | meta_data.structural.snow_load.value | system_snow_load | system_snow_load |  |  | Ground Snow Load (psf) | number | optional
Code-determined ground snow load unit | meta_data.structural.snow_load.unit | [5 empty] | string | optional
Code-determined ultimate wind speed | meta_data.structural.wind_speed.value | system_wind_speed | system_wind_speed_asce7 |  |  | Ultimate Wind Speed (mph) | number | optional
Code-determined ultimate wind speed unit | meta_data.structural.wind_speed.unit | [5 empty] | string | optional
Earthquake importance factor | meta_data.structural.earthquake_importance_factor |  | earthquake_importance_factor |  |  |  | string
Seismic design category, as determined by IBC | meta_data.structural.seismic_design_category | system_seismic_design_category | system_seismic_design_category_ibc |  |  | Seismic Design Category | string | recommended
Primary horizontal gravity system | meta_data.structural.horizontal_gravity_system | system_horizontal_gravity_system | primary_horizontal_gravity_system | bldg_struct_type |  | Primary Horizontal Gravity System | string | optional
Secondary horizontal gravity system | meta_data.structural.secondary_horizontal_gravity_system | secondary_horizontal_gravity_system | secondary_horizontal_gravity_system |  |  |  | string | optional
Primary vertical gravity system | meta_data.structural.vertical_gravity_system | system_vertical_gravity_system | primary_vertical_gravity_system |  |  | Primary Vertical Gravity System | string | optional
Secondary vertical gravity system | meta_data.structural.secondary_vertical_gravity_system | secondary_vertical_gravity_system | secondary_vertical_gravity_system |  |  |  | string | optional
Primary lateral system | meta_data.structural.lateral_system | system_lateral_system | system_lateral_system |  |  | Primary Lateral System | string | optional
Whether or not project is podium construction | meta_data.structural.podium | system_podium | system_podium |  |  | Podium | string | optional
Allowable soil bearing pressure, as reported by the geotechnical engineer | meta_data.structural.allowable_soil_bearing_pressure.value | system_allowable_soil_bearing_pressure_psf | system_allowable_soil_bearing_pressure |  |  | Allowable Soil Bearing Pressure (psf) | number | optional
Allowable soil bearing pressure unit | meta_data.structural.allowable_soil_bearing_pressure.unit | [5 empty] | string | optional
Typical foundation type | meta_data.structural.foundation_type | system_foundation_type | system_foundation_type |  |  | Foundation Type | string | recommended
Journal Publication
Journal Authors | meta_data.publication.authors |  |  | meta_authors |  |  | string | optional
Journal Publication Year | meta_data.publication.year |  |  | meta_year |  |  | string | optional
DOI Url | meta_data.publication.doi |  |  | meta_DOI_URL |  |  | string | optional
Journal Title | meta_data.publication.title |  |  | meta_title |  |  | string | optional
Journal Publisher | meta_data.publication.publisher |  |  | meta_journal |  |  | string | optional

## Assemblies
Information | openBDF | ECHO Reference | CarbEnMats (v0.2.0-CORE) | GLOBE data protocol draft (Aug'24) | SE2050/ARUP | Data Type | Required | Options | Note | Feedback (add comments) | Value | Conceptually, multiple items can be reported in one table, each item in a new row/column
Project
name | name |  |  |  |  | string | required |  | Links to 'Project' |  | B01 | B01 | B02 | ...
Assembly
name | assembly.name |  |  |  |  | string | required |  |  |  | A01 | A01 | A02 | ...
assembly class | assembly.classification.code |  |  |  |  | string | required
description | assembly.description |  |  |  |  | string | recommended
comment | assembly.comment |  |  |  |  | string | optional
area | assembly.areaType.value |  |  |  |  | number | required
area unit | assembly.areaType.unit |  |  |  |  | option | required | m2
volume | meta_data.volume.value |  |  |  |  | number | recommended
volume unit | meta_data.volume.unit |  |  |  |  | option | recommended | m3, l
Product
name | product.name |  |  |  | Material | string | required
product class | meta_data.product_class |  |  |  |  | string | recommended
quantity | product.quantity |  |  |  | Quantity | number | required |  | quantity per assembly
quantity unit | product.unit |  |  |  |  | option | required | m, m2, m3, kg, tones, pcs, kwh, l, m2r1, km, tones_km, unknown
strength | meta_data.strength.value |  |  | CON SRe STen SCon SBeam SDeck NMR Alu Brick |  | number | recommended |  | Yield strength (MPa) in case of steel, strength class (MPa) in case of brick, charecteristic strenght (MPa) in case of concrete
strength unit | meta_data.strength.unit |  |  |  |  | option | recommended
density | meta_data.density.value |  |  | CON Brick Tim CLT Hard Soft Grout |  | number | recommended
density unit | meta_data.density.unit |  |  |  |  | option | recommended | kgm3
exposure classes | meta_data.exposure_classes |  |  | CON |  | string | recommended |  | Exposure (resistance) classes e.g. defined in EN 206
concrete precast | meta_data.concrete_precast |  |  | CON |  | boolean | recommended
brick type | meta_data.brick_type |  |  | Brick |  | string | recommended |  | Brick type specification (e.g. clay, calcium silicate brick, etc.) EN 1996-1
brick grout included | meta_data.brick_grout_included |  |  |  |  | boolean | recommended
timber type | meta_data.timber_type |  |  | Tim |  | string | recommended |  | As defined in EN 1995-1
grout type | meta_data.grout_type |  |  | Grout |  | string | recommended |  | e.g. binder type
reference service life | product.reference_service_life |  |  |  |  | number | recommended
Impact Data (EPD)
name | epd.name |  |  |  |  | string | recommended
source | epd.source.name |  |  |  |  | string | recommended
standard | epd.standard |  |  |  |  | string | recommended
declared unit | epd.declared_unit |  |  |  |  | option | required
GWP Total | [7 empty] | kgCO2e | Environmental indicators acc. EN 15804+A2
a0 | epd.impacts.gwp.a0 |  |  |  |  | number | recommended
a1a3 | epd.impacts.gwp.a1a3 |  |  |  |  | number | recommended
a4 | epd.impacts.gwp.a4 |  |  |  |  | number | recommended
a5 | epd.impacts.gwp.a5 |  |  |  |  | number | recommended
b1 | epd.impacts.gwp.b1 |  |  |  |  | number | optional
b2 | epd.impacts.gwp.b2 |  |  |  |  | number | optional
b3 | epd.impacts.gwp.b3 |  |  |  |  | number | optional
b4 | epd.impacts.gwp.b4 |  |  |  |  | number | recommended
b5 | epd.impacts.gwp.b5 |  |  |  |  | number | optional
b6 | epd.impacts.gwp.b6 |  |  |  |  | number | recommended
b7 | epd.impacts.gwp.b7 |  |  |  |  | number | recommended
b8 | epd.impacts.gwp.b8 |  |  |  |  | number | recommended
c1 | epd.impacts.gwp.c1 |  |  |  |  | number | recommended
c2 | epd.impacts.gwp.c2 |  |  |  |  | number | recommended
c3 | epd.impacts.gwp.c3 |  |  |  |  | number | recommended
c4 | epd.impacts.gwp.c4 |  |  |  |  | number | recommended
d | epd.impacts.gwp.d |  |  |  |  | number | optional
GWP FOS | [7 empty] | kgCO2e
a0 | epd.impacts.gwp_fos.a0 |  |  |  |  | number | recommended
a1a3 | epd.impacts.gwp_fos.a1a3 |  |  |  |  | number | recommended
a4 | epd.impacts.gwp_fos.a4 |  |  |  |  | number | recommended
a5 | epd.impacts.gwp_fos.a5 |  |  |  |  | number | recommended
b1 | epd.impacts.gwp_fos.b1 |  |  |  |  | number | optional
b2 | epd.impacts.gwp_fos.b2 |  |  |  |  | number | optional
b3 | epd.impacts.gwp_fos.b3 |  |  |  |  | number | optional
b4 | epd.impacts.gwp_fos.b4 |  |  |  |  | number | recommended
b5 | epd.impacts.gwp_fos.b5 |  |  |  |  | number | optional
b6 | epd.impacts.gwp_fos.b6 |  |  |  |  | number | recommended
b7 | epd.impacts.gwp_fos.b7 |  |  |  |  | number | recommended
b8 | epd.impacts.gwp_fos.b8 |  |  |  |  | number | recommended
c1 | epd.impacts.gwp_fos.c1 |  |  |  |  | number | recommended
c2 | epd.impacts.gwp_fos.c2 |  |  |  |  | number | recommended
c3 | epd.impacts.gwp_fos.c3 |  |  |  |  | number | recommended
c4 | epd.impacts.gwp_fos.c4 |  |  |  |  | number | recommended
d | epd.impacts.gwp_fos.d |  |  |  |  | number | optional
GWP BIO | [7 empty] | kgCO2e
a0 | epd.impacts.gwp_bio.a0 |  |  |  |  | number | recommended
a1a3 | epd.impacts.gwp_bio.a1a3 |  |  |  |  | number | recommended
a4 | epd.impacts.gwp_bio.a4 |  |  |  |  | number | recommended
a5 | epd.impacts.gwp_bio.a5 |  |  |  |  | number | recommended
b1 | epd.impacts.gwp_bio.b1 |  |  |  |  | number | optional
b2 | epd.impacts.gwp_bio.b2 |  |  |  |  | number | optional
b3 | epd.impacts.gwp_bio.b3 |  |  |  |  | number | optional
b4 | epd.impacts.gwp_bio.b4 |  |  |  |  | number | recommended
b5 | epd.impacts.gwp_bio.b5 |  |  |  |  | number | optional
b6 | epd.impacts.gwp_bio.b6 |  |  |  |  | number | recommended
b7 | epd.impacts.gwp_bio.b7 |  |  |  |  | number | recommended
b8 | epd.impacts.gwp_bio.b8 |  |  |  |  | number | recommended
c1 | epd.impacts.gwp_bio.c1 |  |  |  |  | number | recommended
c2 | epd.impacts.gwp_bio.c2 |  |  |  |  | number | recommended
c3 | epd.impacts.gwp_bio.c3 |  |  |  |  | number | recommended
c4 | epd.impacts.gwp_bio.c4 |  |  |  |  | number | recommended
d | epd.impacts.gwp_bio.d |  |  |  |  | number | optional
GWP LULUC | [7 empty] | kgCO2e
a0 | epd.impacts.gwp_lul.a0 |  |  |  |  | number | recommended
a1a3 | epd.impacts.gwp_lul.a1a3 |  |  |  |  | number | recommended
a4 | epd.impacts.gwp_lul.a4 |  |  |  |  | number | recommended
a5 | epd.impacts.gwp_lul.a5 |  |  |  |  | number | recommended
b1 | epd.impacts.gwp_lul.b1 |  |  |  |  | number | optional
b2 | epd.impacts.gwp_lul.b2 |  |  |  |  | number | optional
b3 | epd.impacts.gwp_lul.b3 |  |  |  |  | number | optional
b4 | epd.impacts.gwp_lul.b4 |  |  |  |  | number | recommended
b5 | epd.impacts.gwp_lul.b5 |  |  |  |  | number | optional
b6 | epd.impacts.gwp_lul.b6 |  |  |  |  | number | recommended
b7 | epd.impacts.gwp_lul.b7 |  |  |  |  | number | recommended
b8 | epd.impacts.gwp_lul.b8 |  |  |  |  | number | recommended
c1 | epd.impacts.gwp_lul.c1 |  |  |  |  | number | recommended
c2 | epd.impacts.gwp_lul.c2 |  |  |  |  | number | recommended
c3 | epd.impacts.gwp_lul.c3 |  |  |  |  | number | recommended
c4 | epd.impacts.gwp_lul.c4 |  |  |  |  | number | recommended
d | epd.impacts.gwp_lul.d |  |  |  |  | number | optional
ODP
a0 | epd.impacts.odp.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.odp.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.odp.a4 |  |  |  |  | number | optional
a5 | epd.impacts.odp.a5 |  |  |  |  | number | optional
b1 | epd.impacts.odp.b1 |  |  |  |  | number | optional
b2 | epd.impacts.odp.b2 |  |  |  |  | number | optional
b3 | epd.impacts.odp.b3 |  |  |  |  | number | optional
b4 | epd.impacts.odp.b4 |  |  |  |  | number | optional
b5 | epd.impacts.odp.b5 |  |  |  |  | number | optional
b6 | epd.impacts.odp.b6 |  |  |  |  | number | optional
b7 | epd.impacts.odp.b7 |  |  |  |  | number | optional
b8 | epd.impacts.odp.b8 |  |  |  |  | number | optional
c1 | epd.impacts.odp.c1 |  |  |  |  | number | optional
c2 | epd.impacts.odp.c2 |  |  |  |  | number | optional
c3 | epd.impacts.odp.c3 |  |  |  |  | number | optional
c4 | epd.impacts.odp.c4 |  |  |  |  | number | optional
d | epd.impacts.odp.d |  |  |  |  | number | optional
AP
a0 | epd.impacts.ap.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.ap.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.ap.a4 |  |  |  |  | number | optional
a5 | epd.impacts.ap.a5 |  |  |  |  | number | optional
b1 | epd.impacts.ap.b1 |  |  |  |  | number | optional
b2 | epd.impacts.ap.b2 |  |  |  |  | number | optional
b3 | epd.impacts.ap.b3 |  |  |  |  | number | optional
b4 | epd.impacts.ap.b4 |  |  |  |  | number | optional
b5 | epd.impacts.ap.b5 |  |  |  |  | number | optional
b6 | epd.impacts.ap.b6 |  |  |  |  | number | optional
b7 | epd.impacts.ap.b7 |  |  |  |  | number | optional
b8 | epd.impacts.ap.b8 |  |  |  |  | number | optional
c1 | epd.impacts.ap.c1 |  |  |  |  | number | optional
c2 | epd.impacts.ap.c2 |  |  |  |  | number | optional
c3 | epd.impacts.ap.c3 |  |  |  |  | number | optional
c4 | epd.impacts.ap.c4 |  |  |  |  | number | optional
d | epd.impacts.ap.d |  |  |  |  | number | optional
EP
a0 | epd.impacts.ep.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.ep.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.ep.a4 |  |  |  |  | number | optional
a5 | epd.impacts.ep.a5 |  |  |  |  | number | optional
b1 | epd.impacts.ep.b1 |  |  |  |  | number | optional
b2 | epd.impacts.ep.b2 |  |  |  |  | number | optional
b3 | epd.impacts.ep.b3 |  |  |  |  | number | optional
b4 | epd.impacts.ep.b4 |  |  |  |  | number | optional
b5 | epd.impacts.ep.b5 |  |  |  |  | number | optional
b6 | epd.impacts.ep.b6 |  |  |  |  | number | optional
b7 | epd.impacts.ep.b7 |  |  |  |  | number | optional
b8 | epd.impacts.ep.b8 |  |  |  |  | number | optional
c1 | epd.impacts.ep.c1 |  |  |  |  | number | optional
c2 | epd.impacts.ep.c2 |  |  |  |  | number | optional
c3 | epd.impacts.ep.c3 |  |  |  |  | number | optional
c4 | epd.impacts.ep.c4 |  |  |  |  | number | optional
d | epd.impacts.ep.d |  |  |  |  | number | optional
EP FW
a0 | epd.impacts.ep_fw.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.ep_fw.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.ep_fw.a4 |  |  |  |  | number | optional
a5 | epd.impacts.ep_fw.a5 |  |  |  |  | number | optional
b1 | epd.impacts.ep_fw.b1 |  |  |  |  | number | optional
b2 | epd.impacts.ep_fw.b2 |  |  |  |  | number | optional
b3 | epd.impacts.ep_fw.b3 |  |  |  |  | number | optional
b4 | epd.impacts.ep_fw.b4 |  |  |  |  | number | optional
b5 | epd.impacts.ep_fw.b5 |  |  |  |  | number | optional
b6 | epd.impacts.ep_fw.b6 |  |  |  |  | number | optional
b7 | epd.impacts.ep_fw.b7 |  |  |  |  | number | optional
b8 | epd.impacts.ep_fw.b8 |  |  |  |  | number | optional
c1 | epd.impacts.ep_fw.c1 |  |  |  |  | number | optional
c2 | epd.impacts.ep_fw.c2 |  |  |  |  | number | optional
c3 | epd.impacts.ep_fw.c3 |  |  |  |  | number | optional
c4 | epd.impacts.ep_fw.c4 |  |  |  |  | number | optional
d | epd.impacts.ep_fw.d |  |  |  |  | number | optional
EP MAR
a0 | epd.impacts.ep_mar.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.ep_mar.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.ep_mar.a4 |  |  |  |  | number | optional
a5 | epd.impacts.ep_mar.a5 |  |  |  |  | number | optional
b1 | epd.impacts.ep_mar.b1 |  |  |  |  | number | optional
b2 | epd.impacts.ep_mar.b2 |  |  |  |  | number | optional
b3 | epd.impacts.ep_mar.b3 |  |  |  |  | number | optional
b4 | epd.impacts.ep_mar.b4 |  |  |  |  | number | optional
b5 | epd.impacts.ep_mar.b5 |  |  |  |  | number | optional
b6 | epd.impacts.ep_mar.b6 |  |  |  |  | number | optional
b7 | epd.impacts.ep_mar.b7 |  |  |  |  | number | optional
b8 | epd.impacts.ep_mar.b8 |  |  |  |  | number | optional
c1 | epd.impacts.ep_mar.c1 |  |  |  |  | number | optional
c2 | epd.impacts.ep_mar.c2 |  |  |  |  | number | optional
c3 | epd.impacts.ep_mar.c3 |  |  |  |  | number | optional
c4 | epd.impacts.ep_mar.c4 |  |  |  |  | number | optional
d | epd.impacts.ep_mar.d |  |  |  |  | number | optional
EP TER
a0 | epd.impacts.ep_ter.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.ep_ter.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.ep_ter.a4 |  |  |  |  | number | optional
a5 | epd.impacts.ep_ter.a5 |  |  |  |  | number | optional
b1 | epd.impacts.ep_ter.b1 |  |  |  |  | number | optional
b2 | epd.impacts.ep_ter.b2 |  |  |  |  | number | optional
b3 | epd.impacts.ep_ter.b3 |  |  |  |  | number | optional
b4 | epd.impacts.ep_ter.b4 |  |  |  |  | number | optional
b5 | epd.impacts.ep_ter.b5 |  |  |  |  | number | optional
b6 | epd.impacts.ep_ter.b6 |  |  |  |  | number | optional
b7 | epd.impacts.ep_ter.b7 |  |  |  |  | number | optional
b8 | epd.impacts.ep_ter.b8 |  |  |  |  | number | optional
c1 | epd.impacts.ep_ter.c1 |  |  |  |  | number | optional
c2 | epd.impacts.ep_ter.c2 |  |  |  |  | number | optional
c3 | epd.impacts.ep_ter.c3 |  |  |  |  | number | optional
c4 | epd.impacts.ep_ter.c4 |  |  |  |  | number | optional
d | epd.impacts.ep_ter.d |  |  |  |  | number | optional
POCP
a0 | epd.impacts.pocp.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.pocp.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.pocp.a4 |  |  |  |  | number | optional
a5 | epd.impacts.pocp.a5 |  |  |  |  | number | optional
b1 | epd.impacts.pocp.b1 |  |  |  |  | number | optional
b2 | epd.impacts.pocp.b2 |  |  |  |  | number | optional
b3 | epd.impacts.pocp.b3 |  |  |  |  | number | optional
b4 | epd.impacts.pocp.b4 |  |  |  |  | number | optional
b5 | epd.impacts.pocp.b5 |  |  |  |  | number | optional
b6 | epd.impacts.pocp.b6 |  |  |  |  | number | optional
b7 | epd.impacts.pocp.b7 |  |  |  |  | number | optional
b8 | epd.impacts.pocp.b8 |  |  |  |  | number | optional
c1 | epd.impacts.pocp.c1 |  |  |  |  | number | optional
c2 | epd.impacts.pocp.c2 |  |  |  |  | number | optional
c3 | epd.impacts.pocp.c3 |  |  |  |  | number | optional
c4 | epd.impacts.pocp.c4 |  |  |  |  | number | optional
d | epd.impacts.pocp.d |  |  |  |  | number | optional
ADPE
a0 | epd.impacts.adpe.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.adpe.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.adpe.a4 |  |  |  |  | number | optional
a5 | epd.impacts.adpe.a5 |  |  |  |  | number | optional
b1 | epd.impacts.adpe.b1 |  |  |  |  | number | optional
b2 | epd.impacts.adpe.b2 |  |  |  |  | number | optional
b3 | epd.impacts.adpe.b3 |  |  |  |  | number | optional
b4 | epd.impacts.adpe.b4 |  |  |  |  | number | optional
b5 | epd.impacts.adpe.b5 |  |  |  |  | number | optional
b6 | epd.impacts.adpe.b6 |  |  |  |  | number | optional
b7 | epd.impacts.adpe.b7 |  |  |  |  | number | optional
b8 | epd.impacts.adpe.b8 |  |  |  |  | number | optional
c1 | epd.impacts.adpe.c1 |  |  |  |  | number | optional
c2 | epd.impacts.adpe.c2 |  |  |  |  | number | optional
c3 | epd.impacts.adpe.c3 |  |  |  |  | number | optional
c4 | epd.impacts.adpe.c4 |  |  |  |  | number | optional
d | epd.impacts.adpe.d |  |  |  |  | number | optional
ADPF
a0 | epd.impacts.adpf.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.adpf.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.adpf.a4 |  |  |  |  | number | optional
a5 | epd.impacts.adpf.a5 |  |  |  |  | number | optional
b1 | epd.impacts.adpf.b1 |  |  |  |  | number | optional
b2 | epd.impacts.adpf.b2 |  |  |  |  | number | optional
b3 | epd.impacts.adpf.b3 |  |  |  |  | number | optional
b4 | epd.impacts.adpf.b4 |  |  |  |  | number | optional
b5 | epd.impacts.adpf.b5 |  |  |  |  | number | optional
b6 | epd.impacts.adpf.b6 |  |  |  |  | number | optional
b7 | epd.impacts.adpf.b7 |  |  |  |  | number | optional
b8 | epd.impacts.adpf.b8 |  |  |  |  | number | optional
c1 | epd.impacts.adpf.c1 |  |  |  |  | number | optional
c2 | epd.impacts.adpf.c2 |  |  |  |  | number | optional
c3 | epd.impacts.adpf.c3 |  |  |  |  | number | optional
c4 | epd.impacts.adpf.c4 |  |  |  |  | number | optional
d | epd.impacts.adpf.d |  |  |  |  | number | optional
PENRE
a0 | epd.impacts.penre.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.penre.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.penre.a4 |  |  |  |  | number | optional
a5 | epd.impacts.penre.a5 |  |  |  |  | number | optional
b1 | epd.impacts.penre.b1 |  |  |  |  | number | optional
b2 | epd.impacts.penre.b2 |  |  |  |  | number | optional
b3 | epd.impacts.penre.b3 |  |  |  |  | number | optional
b4 | epd.impacts.penre.b4 |  |  |  |  | number | optional
b5 | epd.impacts.penre.b5 |  |  |  |  | number | optional
b6 | epd.impacts.penre.b6 |  |  |  |  | number | optional
b7 | epd.impacts.penre.b7 |  |  |  |  | number | optional
b8 | epd.impacts.penre.b8 |  |  |  |  | number | optional
c1 | epd.impacts.penre.c1 |  |  |  |  | number | optional
c2 | epd.impacts.penre.c2 |  |  |  |  | number | optional
c3 | epd.impacts.penre.c3 |  |  |  |  | number | optional
c4 | epd.impacts.penre.c4 |  |  |  |  | number | optional
d | epd.impacts.penre.d |  |  |  |  | number | optional
PERE
a0 | epd.impacts.pere.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.pere.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.pere.a4 |  |  |  |  | number | optional
a5 | epd.impacts.pere.a5 |  |  |  |  | number | optional
b1 | epd.impacts.pere.b1 |  |  |  |  | number | optional
b2 | epd.impacts.pere.b2 |  |  |  |  | number | optional
b3 | epd.impacts.pere.b3 |  |  |  |  | number | optional
b4 | epd.impacts.pere.b4 |  |  |  |  | number | optional
b5 | epd.impacts.pere.b5 |  |  |  |  | number | optional
b6 | epd.impacts.pere.b6 |  |  |  |  | number | optional
b7 | epd.impacts.pere.b7 |  |  |  |  | number | optional
b8 | epd.impacts.pere.b8 |  |  |  |  | number | optional
c1 | epd.impacts.pere.c1 |  |  |  |  | number | optional
c2 | epd.impacts.pere.c2 |  |  |  |  | number | optional
c3 | epd.impacts.pere.c3 |  |  |  |  | number | optional
c4 | epd.impacts.pere.c4 |  |  |  |  | number | optional
d | epd.impacts.pere.d |  |  |  |  | number | optional
PERM
a0 | epd.impacts.perm.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.perm.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.perm.a4 |  |  |  |  | number | optional
a5 | epd.impacts.perm.a5 |  |  |  |  | number | optional
b1 | epd.impacts.perm.b1 |  |  |  |  | number | optional
b2 | epd.impacts.perm.b2 |  |  |  |  | number | optional
b3 | epd.impacts.perm.b3 |  |  |  |  | number | optional
b4 | epd.impacts.perm.b4 |  |  |  |  | number | optional
b5 | epd.impacts.perm.b5 |  |  |  |  | number | optional
b6 | epd.impacts.perm.b6 |  |  |  |  | number | optional
b7 | epd.impacts.perm.b7 |  |  |  |  | number | optional
b8 | epd.impacts.perm.b8 |  |  |  |  | number | optional
c1 | epd.impacts.perm.c1 |  |  |  |  | number | optional
c2 | epd.impacts.perm.c2 |  |  |  |  | number | optional
c3 | epd.impacts.perm.c3 |  |  |  |  | number | optional
c4 | epd.impacts.perm.c4 |  |  |  |  | number | optional
d | epd.impacts.perm.d |  |  |  |  | number | optional
PERT
a0 | epd.impacts.pert.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.pert.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.pert.a4 |  |  |  |  | number | optional
a5 | epd.impacts.pert.a5 |  |  |  |  | number | optional
b1 | epd.impacts.pert.b1 |  |  |  |  | number | optional
b2 | epd.impacts.pert.b2 |  |  |  |  | number | optional
b3 | epd.impacts.pert.b3 |  |  |  |  | number | optional
b4 | epd.impacts.pert.b4 |  |  |  |  | number | optional
b5 | epd.impacts.pert.b5 |  |  |  |  | number | optional
b6 | epd.impacts.pert.b6 |  |  |  |  | number | optional
b7 | epd.impacts.pert.b7 |  |  |  |  | number | optional
b8 | epd.impacts.pert.b8 |  |  |  |  | number | optional
c1 | epd.impacts.pert.c1 |  |  |  |  | number | optional
c2 | epd.impacts.pert.c2 |  |  |  |  | number | optional
c3 | epd.impacts.pert.c3 |  |  |  |  | number | optional
c4 | epd.impacts.pert.c4 |  |  |  |  | number | optional
d | epd.impacts.pert.d |  |  |  |  | number | optional
PENRT
a0 | epd.impacts.penrt.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.penrt.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.penrt.a4 |  |  |  |  | number | optional
a5 | epd.impacts.penrt.a5 |  |  |  |  | number | optional
b1 | epd.impacts.penrt.b1 |  |  |  |  | number | optional
b2 | epd.impacts.penrt.b2 |  |  |  |  | number | optional
b3 | epd.impacts.penrt.b3 |  |  |  |  | number | optional
b4 | epd.impacts.penrt.b4 |  |  |  |  | number | optional
b5 | epd.impacts.penrt.b5 |  |  |  |  | number | optional
b6 | epd.impacts.penrt.b6 |  |  |  |  | number | optional
b7 | epd.impacts.penrt.b7 |  |  |  |  | number | optional
b8 | epd.impacts.penrt.b8 |  |  |  |  | number | optional
c1 | epd.impacts.penrt.c1 |  |  |  |  | number | optional
c2 | epd.impacts.penrt.c2 |  |  |  |  | number | optional
c3 | epd.impacts.penrt.c3 |  |  |  |  | number | optional
c4 | epd.impacts.penrt.c4 |  |  |  |  | number | optional
d | epd.impacts.penrt.d |  |  |  |  | number | optional
PENRM
a0 | epd.impacts.penrm.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.penrm.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.penrm.a4 |  |  |  |  | number | optional
a5 | epd.impacts.penrm.a5 |  |  |  |  | number | optional
b1 | epd.impacts.penrm.b1 |  |  |  |  | number | optional
b2 | epd.impacts.penrm.b2 |  |  |  |  | number | optional
b3 | epd.impacts.penrm.b3 |  |  |  |  | number | optional
b4 | epd.impacts.penrm.b4 |  |  |  |  | number | optional
b5 | epd.impacts.penrm.b5 |  |  |  |  | number | optional
b6 | epd.impacts.penrm.b6 |  |  |  |  | number | optional
b7 | epd.impacts.penrm.b7 |  |  |  |  | number | optional
b8 | epd.impacts.penrm.b8 |  |  |  |  | number | optional
c1 | epd.impacts.penrm.c1 |  |  |  |  | number | optional
c2 | epd.impacts.penrm.c2 |  |  |  |  | number | optional
c3 | epd.impacts.penrm.c3 |  |  |  |  | number | optional
c4 | epd.impacts.penrm.c4 |  |  |  |  | number | optional
d | epd.impacts.penrm.d |  |  |  |  | number | optional
SM
a0 | epd.impacts.sm.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.sm.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.sm.a4 |  |  |  |  | number | optional
a5 | epd.impacts.sm.a5 |  |  |  |  | number | optional
b1 | epd.impacts.sm.b1 |  |  |  |  | number | optional
b2 | epd.impacts.sm.b2 |  |  |  |  | number | optional
b3 | epd.impacts.sm.b3 |  |  |  |  | number | optional
b4 | epd.impacts.sm.b4 |  |  |  |  | number | optional
b5 | epd.impacts.sm.b5 |  |  |  |  | number | optional
b6 | epd.impacts.sm.b6 |  |  |  |  | number | optional
b7 | epd.impacts.sm.b7 |  |  |  |  | number | optional
b8 | epd.impacts.sm.b8 |  |  |  |  | number | optional
c1 | epd.impacts.sm.c1 |  |  |  |  | number | optional
c2 | epd.impacts.sm.c2 |  |  |  |  | number | optional
c3 | epd.impacts.sm.c3 |  |  |  |  | number | optional
c4 | epd.impacts.sm.c4 |  |  |  |  | number | optional
d | epd.impacts.sm.d |  |  |  |  | number | optional
PM
a0 | epd.impacts.pm.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.pm.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.pm.a4 |  |  |  |  | number | optional
a5 | epd.impacts.pm.a5 |  |  |  |  | number | optional
b1 | epd.impacts.pm.b1 |  |  |  |  | number | optional
b2 | epd.impacts.pm.b2 |  |  |  |  | number | optional
b3 | epd.impacts.pm.b3 |  |  |  |  | number | optional
b4 | epd.impacts.pm.b4 |  |  |  |  | number | optional
b5 | epd.impacts.pm.b5 |  |  |  |  | number | optional
b6 | epd.impacts.pm.b6 |  |  |  |  | number | optional
b7 | epd.impacts.pm.b7 |  |  |  |  | number | optional
b8 | epd.impacts.pm.b8 |  |  |  |  | number | optional
c1 | epd.impacts.pm.c1 |  |  |  |  | number | optional
c2 | epd.impacts.pm.c2 |  |  |  |  | number | optional
c3 | epd.impacts.pm.c3 |  |  |  |  | number | optional
c4 | epd.impacts.pm.c4 |  |  |  |  | number | optional
d | epd.impacts.pm.d |  |  |  |  | number | optional
IRP
a0 | epd.impacts.irp.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.irp.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.irp.a4 |  |  |  |  | number | optional
a5 | epd.impacts.irp.a5 |  |  |  |  | number | optional
b1 | epd.impacts.irp.b1 |  |  |  |  | number | optional
b2 | epd.impacts.irp.b2 |  |  |  |  | number | optional
b3 | epd.impacts.irp.b3 |  |  |  |  | number | optional
b4 | epd.impacts.irp.b4 |  |  |  |  | number | optional
b5 | epd.impacts.irp.b5 |  |  |  |  | number | optional
b6 | epd.impacts.irp.b6 |  |  |  |  | number | optional
b7 | epd.impacts.irp.b7 |  |  |  |  | number | optional
b8 | epd.impacts.irp.b8 |  |  |  |  | number | optional
c1 | epd.impacts.irp.c1 |  |  |  |  | number | optional
c2 | epd.impacts.irp.c2 |  |  |  |  | number | optional
c3 | epd.impacts.irp.c3 |  |  |  |  | number | optional
c4 | epd.impacts.irp.c4 |  |  |  |  | number | optional
d | epd.impacts.irp.d |  |  |  |  | number | optional
ETP FW
a0 | epd.impacts.etp_fw.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.etp_fw.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.etp_fw.a4 |  |  |  |  | number | optional
a5 | epd.impacts.etp_fw.a5 |  |  |  |  | number | optional
b1 | epd.impacts.etp_fw.b1 |  |  |  |  | number | optional
b2 | epd.impacts.etp_fw.b2 |  |  |  |  | number | optional
b3 | epd.impacts.etp_fw.b3 |  |  |  |  | number | optional
b4 | epd.impacts.etp_fw.b4 |  |  |  |  | number | optional
b5 | epd.impacts.etp_fw.b5 |  |  |  |  | number | optional
b6 | epd.impacts.etp_fw.b6 |  |  |  |  | number | optional
b7 | epd.impacts.etp_fw.b7 |  |  |  |  | number | optional
b8 | epd.impacts.etp_fw.b8 |  |  |  |  | number | optional
c1 | epd.impacts.etp_fw.c1 |  |  |  |  | number | optional
c2 | epd.impacts.etp_fw.c2 |  |  |  |  | number | optional
c3 | epd.impacts.etp_fw.c3 |  |  |  |  | number | optional
c4 | epd.impacts.etp_fw.c4 |  |  |  |  | number | optional
d | epd.impacts.etp_fw.d |  |  |  |  | number | optional
HTP C
a0 | epd.impacts.htp_c.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.htp_c.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.htp_c.a4 |  |  |  |  | number | optional
a5 | epd.impacts.htp_c.a5 |  |  |  |  | number | optional
b1 | epd.impacts.htp_c.b1 |  |  |  |  | number | optional
b2 | epd.impacts.htp_c.b2 |  |  |  |  | number | optional
b3 | epd.impacts.htp_c.b3 |  |  |  |  | number | optional
b4 | epd.impacts.htp_c.b4 |  |  |  |  | number | optional
b5 | epd.impacts.htp_c.b5 |  |  |  |  | number | optional
b6 | epd.impacts.htp_c.b6 |  |  |  |  | number | optional
b7 | epd.impacts.htp_c.b7 |  |  |  |  | number | optional
b8 | epd.impacts.htp_c.b8 |  |  |  |  | number | optional
c1 | epd.impacts.htp_c.c1 |  |  |  |  | number | optional
c2 | epd.impacts.htp_c.c2 |  |  |  |  | number | optional
c3 | epd.impacts.htp_c.c3 |  |  |  |  | number | optional
c4 | epd.impacts.htp_c.c4 |  |  |  |  | number | optional
d | epd.impacts.htp_c.d |  |  |  |  | number | optional
HTP NC
a0 | epd.impacts.htp_nc.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.htp_nc.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.htp_nc.a4 |  |  |  |  | number | optional
a5 | epd.impacts.htp_nc.a5 |  |  |  |  | number | optional
b1 | epd.impacts.htp_nc.b1 |  |  |  |  | number | optional
b2 | epd.impacts.htp_nc.b2 |  |  |  |  | number | optional
b3 | epd.impacts.htp_nc.b3 |  |  |  |  | number | optional
b4 | epd.impacts.htp_nc.b4 |  |  |  |  | number | optional
b5 | epd.impacts.htp_nc.b5 |  |  |  |  | number | optional
b6 | epd.impacts.htp_nc.b6 |  |  |  |  | number | optional
b7 | epd.impacts.htp_nc.b7 |  |  |  |  | number | optional
b8 | epd.impacts.htp_nc.b8 |  |  |  |  | number | optional
c1 | epd.impacts.htp_nc.c1 |  |  |  |  | number | optional
c2 | epd.impacts.htp_nc.c2 |  |  |  |  | number | optional
c3 | epd.impacts.htp_nc.c3 |  |  |  |  | number | optional
c4 | epd.impacts.htp_nc.c4 |  |  |  |  | number | optional
d | epd.impacts.htp_nc.d |  |  |  |  | number | optional
SQP
a0 | epd.impacts.sqp.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.sqp.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.sqp.a4 |  |  |  |  | number | optional
a5 | epd.impacts.sqp.a5 |  |  |  |  | number | optional
b1 | epd.impacts.sqp.b1 |  |  |  |  | number | optional
b2 | epd.impacts.sqp.b2 |  |  |  |  | number | optional
b3 | epd.impacts.sqp.b3 |  |  |  |  | number | optional
b4 | epd.impacts.sqp.b4 |  |  |  |  | number | optional
b5 | epd.impacts.sqp.b5 |  |  |  |  | number | optional
b6 | epd.impacts.sqp.b6 |  |  |  |  | number | optional
b7 | epd.impacts.sqp.b7 |  |  |  |  | number | optional
b8 | epd.impacts.sqp.b8 |  |  |  |  | number | optional
c1 | epd.impacts.sqp.c1 |  |  |  |  | number | optional
c2 | epd.impacts.sqp.c2 |  |  |  |  | number | optional
c3 | epd.impacts.sqp.c3 |  |  |  |  | number | optional
c4 | epd.impacts.sqp.c4 |  |  |  |  | number | optional
d | epd.impacts.sqp.d |  |  |  |  | number | optional
RSF
a0 | epd.impacts.rsf.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.rsf.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.rsf.a4 |  |  |  |  | number | optional
a5 | epd.impacts.rsf.a5 |  |  |  |  | number | optional
b1 | epd.impacts.rsf.b1 |  |  |  |  | number | optional
b2 | epd.impacts.rsf.b2 |  |  |  |  | number | optional
b3 | epd.impacts.rsf.b3 |  |  |  |  | number | optional
b4 | epd.impacts.rsf.b4 |  |  |  |  | number | optional
b5 | epd.impacts.rsf.b5 |  |  |  |  | number | optional
b6 | epd.impacts.rsf.b6 |  |  |  |  | number | optional
b7 | epd.impacts.rsf.b7 |  |  |  |  | number | optional
b8 | epd.impacts.rsf.b8 |  |  |  |  | number | optional
c1 | epd.impacts.rsf.c1 |  |  |  |  | number | optional
c2 | epd.impacts.rsf.c2 |  |  |  |  | number | optional
c3 | epd.impacts.rsf.c3 |  |  |  |  | number | optional
c4 | epd.impacts.rsf.c4 |  |  |  |  | number | optional
d | epd.impacts.rsf.d |  |  |  |  | number | optional
NRSF
a0 | epd.impacts.nrsf.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.nrsf.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.nrsf.a4 |  |  |  |  | number | optional
a5 | epd.impacts.nrsf.a5 |  |  |  |  | number | optional
b1 | epd.impacts.nrsf.b1 |  |  |  |  | number | optional
b2 | epd.impacts.nrsf.b2 |  |  |  |  | number | optional
b3 | epd.impacts.nrsf.b3 |  |  |  |  | number | optional
b4 | epd.impacts.nrsf.b4 |  |  |  |  | number | optional
b5 | epd.impacts.nrsf.b5 |  |  |  |  | number | optional
b6 | epd.impacts.nrsf.b6 |  |  |  |  | number | optional
b7 | epd.impacts.nrsf.b7 |  |  |  |  | number | optional
b8 | epd.impacts.nrsf.b8 |  |  |  |  | number | optional
c1 | epd.impacts.nrsf.c1 |  |  |  |  | number | optional
c2 | epd.impacts.nrsf.c2 |  |  |  |  | number | optional
c3 | epd.impacts.nrsf.c3 |  |  |  |  | number | optional
c4 | epd.impacts.nrsf.c4 |  |  |  |  | number | optional
d | epd.impacts.nrsf.d |  |  |  |  | number | optional
FW
a0 | epd.impacts.fw.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.fw.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.fw.a4 |  |  |  |  | number | optional
a5 | epd.impacts.fw.a5 |  |  |  |  | number | optional
b1 | epd.impacts.fw.b1 |  |  |  |  | number | optional
b2 | epd.impacts.fw.b2 |  |  |  |  | number | optional
b3 | epd.impacts.fw.b3 |  |  |  |  | number | optional
b4 | epd.impacts.fw.b4 |  |  |  |  | number | optional
b5 | epd.impacts.fw.b5 |  |  |  |  | number | optional
b6 | epd.impacts.fw.b6 |  |  |  |  | number | optional
b7 | epd.impacts.fw.b7 |  |  |  |  | number | optional
b8 | epd.impacts.fw.b8 |  |  |  |  | number | optional
c1 | epd.impacts.fw.c1 |  |  |  |  | number | optional
c2 | epd.impacts.fw.c2 |  |  |  |  | number | optional
c3 | epd.impacts.fw.c3 |  |  |  |  | number | optional
c4 | epd.impacts.fw.c4 |  |  |  |  | number | optional
d | epd.impacts.fw.d |  |  |  |  | number | optional
HWD
a0 | epd.impacts.hwd.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.hwd.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.hwd.a4 |  |  |  |  | number | optional
a5 | epd.impacts.hwd.a5 |  |  |  |  | number | optional
b1 | epd.impacts.hwd.b1 |  |  |  |  | number | optional
b2 | epd.impacts.hwd.b2 |  |  |  |  | number | optional
b3 | epd.impacts.hwd.b3 |  |  |  |  | number | optional
b4 | epd.impacts.hwd.b4 |  |  |  |  | number | optional
b5 | epd.impacts.hwd.b5 |  |  |  |  | number | optional
b6 | epd.impacts.hwd.b6 |  |  |  |  | number | optional
b7 | epd.impacts.hwd.b7 |  |  |  |  | number | optional
b8 | epd.impacts.hwd.b8 |  |  |  |  | number | optional
c1 | epd.impacts.hwd.c1 |  |  |  |  | number | optional
c2 | epd.impacts.hwd.c2 |  |  |  |  | number | optional
c3 | epd.impacts.hwd.c3 |  |  |  |  | number | optional
c4 | epd.impacts.hwd.c4 |  |  |  |  | number | optional
d | epd.impacts.hwd.d |  |  |  |  | number | optional
NHWD
a0 | epd.impacts.nhwd.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.nhwd.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.nhwd.a4 |  |  |  |  | number | optional
a5 | epd.impacts.nhwd.a5 |  |  |  |  | number | optional
b1 | epd.impacts.nhwd.b1 |  |  |  |  | number | optional
b2 | epd.impacts.nhwd.b2 |  |  |  |  | number | optional
b3 | epd.impacts.nhwd.b3 |  |  |  |  | number | optional
b4 | epd.impacts.nhwd.b4 |  |  |  |  | number | optional
b5 | epd.impacts.nhwd.b5 |  |  |  |  | number | optional
b6 | epd.impacts.nhwd.b6 |  |  |  |  | number | optional
b7 | epd.impacts.nhwd.b7 |  |  |  |  | number | optional
b8 | epd.impacts.nhwd.b8 |  |  |  |  | number | optional
c1 | epd.impacts.nhwd.c1 |  |  |  |  | number | optional
c2 | epd.impacts.nhwd.c2 |  |  |  |  | number | optional
c3 | epd.impacts.nhwd.c3 |  |  |  |  | number | optional
c4 | epd.impacts.nhwd.c4 |  |  |  |  | number | optional
d | epd.impacts.nhwd.d |  |  |  |  | number | optional
RWD
a0 | epd.impacts.rwd.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.rwd.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.rwd.a4 |  |  |  |  | number | optional
a5 | epd.impacts.rwd.a5 |  |  |  |  | number | optional
b1 | epd.impacts.rwd.b1 |  |  |  |  | number | optional
b2 | epd.impacts.rwd.b2 |  |  |  |  | number | optional
b3 | epd.impacts.rwd.b3 |  |  |  |  | number | optional
b4 | epd.impacts.rwd.b4 |  |  |  |  | number | optional
b5 | epd.impacts.rwd.b5 |  |  |  |  | number | optional
b6 | epd.impacts.rwd.b6 |  |  |  |  | number | optional
b7 | epd.impacts.rwd.b7 |  |  |  |  | number | optional
b8 | epd.impacts.rwd.b8 |  |  |  |  | number | optional
c1 | epd.impacts.rwd.c1 |  |  |  |  | number | optional
c2 | epd.impacts.rwd.c2 |  |  |  |  | number | optional
c3 | epd.impacts.rwd.c3 |  |  |  |  | number | optional
c4 | epd.impacts.rwd.c4 |  |  |  |  | number | optional
d | epd.impacts.rwd.d |  |  |  |  | number | optional
CRU
a0 | epd.impacts.cru.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.cru.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.cru.a4 |  |  |  |  | number | optional
a5 | epd.impacts.cru.a5 |  |  |  |  | number | optional
b1 | epd.impacts.cru.b1 |  |  |  |  | number | optional
b2 | epd.impacts.cru.b2 |  |  |  |  | number | optional
b3 | epd.impacts.cru.b3 |  |  |  |  | number | optional
b4 | epd.impacts.cru.b4 |  |  |  |  | number | optional
b5 | epd.impacts.cru.b5 |  |  |  |  | number | optional
b6 | epd.impacts.cru.b6 |  |  |  |  | number | optional
b7 | epd.impacts.cru.b7 |  |  |  |  | number | optional
b8 | epd.impacts.cru.b8 |  |  |  |  | number | optional
c1 | epd.impacts.cru.c1 |  |  |  |  | number | optional
c2 | epd.impacts.cru.c2 |  |  |  |  | number | optional
c3 | epd.impacts.cru.c3 |  |  |  |  | number | optional
c4 | epd.impacts.cru.c4 |  |  |  |  | number | optional
d | epd.impacts.cru.d |  |  |  |  | number | optional
MRF
a0 | epd.impacts.mrf.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.mrf.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.mrf.a4 |  |  |  |  | number | optional
a5 | epd.impacts.mrf.a5 |  |  |  |  | number | optional
b1 | epd.impacts.mrf.b1 |  |  |  |  | number | optional
b2 | epd.impacts.mrf.b2 |  |  |  |  | number | optional
b3 | epd.impacts.mrf.b3 |  |  |  |  | number | optional
b4 | epd.impacts.mrf.b4 |  |  |  |  | number | optional
b5 | epd.impacts.mrf.b5 |  |  |  |  | number | optional
b6 | epd.impacts.mrf.b6 |  |  |  |  | number | optional
b7 | epd.impacts.mrf.b7 |  |  |  |  | number | optional
b8 | epd.impacts.mrf.b8 |  |  |  |  | number | optional
c1 | epd.impacts.mrf.c1 |  |  |  |  | number | optional
c2 | epd.impacts.mrf.c2 |  |  |  |  | number | optional
c3 | epd.impacts.mrf.c3 |  |  |  |  | number | optional
c4 | epd.impacts.mrf.c4 |  |  |  |  | number | optional
d | epd.impacts.mrf.d |  |  |  |  | number | optional
MER
a0 | epd.impacts.mer.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.mer.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.mer.a4 |  |  |  |  | number | optional
a5 | epd.impacts.mer.a5 |  |  |  |  | number | optional
b1 | epd.impacts.mer.b1 |  |  |  |  | number | optional
b2 | epd.impacts.mer.b2 |  |  |  |  | number | optional
b3 | epd.impacts.mer.b3 |  |  |  |  | number | optional
b4 | epd.impacts.mer.b4 |  |  |  |  | number | optional
b5 | epd.impacts.mer.b5 |  |  |  |  | number | optional
b6 | epd.impacts.mer.b6 |  |  |  |  | number | optional
b7 | epd.impacts.mer.b7 |  |  |  |  | number | optional
b8 | epd.impacts.mer.b8 |  |  |  |  | number | optional
c1 | epd.impacts.mer.c1 |  |  |  |  | number | optional
c2 | epd.impacts.mer.c2 |  |  |  |  | number | optional
c3 | epd.impacts.mer.c3 |  |  |  |  | number | optional
c4 | epd.impacts.mer.c4 |  |  |  |  | number | optional
d | epd.impacts.mer.d |  |  |  |  | number | optional
EEE
a0 | epd.impacts.eee.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.eee.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.eee.a4 |  |  |  |  | number | optional
a5 | epd.impacts.eee.a5 |  |  |  |  | number | optional
b1 | epd.impacts.eee.b1 |  |  |  |  | number | optional
b2 | epd.impacts.eee.b2 |  |  |  |  | number | optional
b3 | epd.impacts.eee.b3 |  |  |  |  | number | optional
b4 | epd.impacts.eee.b4 |  |  |  |  | number | optional
b5 | epd.impacts.eee.b5 |  |  |  |  | number | optional
b6 | epd.impacts.eee.b6 |  |  |  |  | number | optional
b7 | epd.impacts.eee.b7 |  |  |  |  | number | optional
b8 | epd.impacts.eee.b8 |  |  |  |  | number | optional
c1 | epd.impacts.eee.c1 |  |  |  |  | number | optional
c2 | epd.impacts.eee.c2 |  |  |  |  | number | optional
c3 | epd.impacts.eee.c3 |  |  |  |  | number | optional
c4 | epd.impacts.eee.c4 |  |  |  |  | number | optional
d | epd.impacts.eee.d |  |  |  |  | number | optional
EET
a0 | epd.impacts.eet.a0 |  |  |  |  | number | optional
a1a3 | epd.impacts.eet.a1a3 |  |  |  |  | number | optional
a4 | epd.impacts.eet.a4 |  |  |  |  | number | optional
a5 | epd.impacts.eet.a5 |  |  |  |  | number | optional
b1 | epd.impacts.eet.b1 |  |  |  |  | number | optional
b2 | epd.impacts.eet.b2 |  |  |  |  | number | optional
b3 | epd.impacts.eet.b3 |  |  |  |  | number | optional
b4 | epd.impacts.eet.b4 |  |  |  |  | number | optional
b5 | epd.impacts.eet.b5 |  |  |  |  | number | optional
b6 | epd.impacts.eet.b6 |  |  |  |  | number | optional
b7 | epd.impacts.eet.b7 |  |  |  |  | number | optional
b8 | epd.impacts.eet.b8 |  |  |  |  | number | optional
c1 | epd.impacts.eet.c1 |  |  |  |  | number | optional
c2 | epd.impacts.eet.c2 |  |  |  |  | number | optional
c3 | epd.impacts.eet.c3 |  |  |  |  | number | optional
c4 | epd.impacts.eet.c4 |  |  |  |  | number | optional
d | epd.impacts.eet.d |  |  |  |  | number | optional
Note on A33: Add quantity and unit of the process (impact data, EPD/ecoinvent) to capture the total quantity at building level, for cases where breakdown by assembly is not available (use assembly 'undefined') - TBD how to do in a clean way @kongsgaard.c@gmail.com -Martin Röck
Note on H20: TBD if this should be required. Density is crucial for calculating total mass from the quantity given per product and/or the quantity within the product if given the totals at building level. -Martin Röck